Shortname:    OMAEROG

Longname:     OMI/Aura Multi-wavelength Aerosol Optical Depth and Single Scattering Albedo Daily L2 Global 0.25x0.25 deg Lat/Lon Grid

PFS Version:  1.1.0

Date:         2011 July 14

Author(s):    Peter Leonard (ADNET)

PGE Version:               1.1.0

Lead Algorithm Scientist:  Pepijn Veefkind (KNMI)

Lead Algorithm Developer:  Peter Leonard (ADNET)

Lead PGE Developer:        Peter Leonard (ADNET)

PGE Developer(s):          Peter Leonard (ADNET)

Description: >

This document specifies the format of the Ozone Monitoring Instrument (OMI)

OMAERO product, which is the daily Level 2G (L2G) gridded data product that

corresponds to the OMAERO product.  The latter is the Dutch-Finnish aerosol

optical thickness and single scattering albedo orbital Level 2 (L2) swath

data product (Reference 1).

The L2G product contains 24 UTC hours of L2 product subsetted onto a

longitude-latitude grid.

An OMI L2G day is defined to be the 24 hours that lie between UTC times of

0 hours, 0 minutes, 0 seconds and 23 hours, 59 minutes, 59.999999 seconds.

The L2G product contains the data for all L2 "scenes" that

1) have observation times that lie within the L2G day in question,

2) have centers that lie within the L2G grid cell in question, and

3) are "good".

A "good" OMAERO L2 scene is defined as one that has

i)  a solar zenith angle that is less than or equal to 88.0 degrees, and

ii) a UV aerosol index that is not equal to the missing value.

The adopted L2G grid is a 0.25-degree by 0.25-degree grid in longitude and

latitude.  The dimensions of this grid are 1440 by 720.  The origin of the

grid is at lower left.  That is, the grid cell at coordinates (1, 1)

is centered at (longitude = -179.875 , latitude = -89.875),

and the grid cell at coordinates (1440, 720)

is centered at (longitude =  179.875 , latitude =  89.875).

The adopted L2G grid is consistent with the document entitled "Definition

of OMI Grids for Level 3 and Level 4 Data Products" by J.P. Veefkind et al.

(Reference 2).

The L2G product currently excludes L2 data collected in spatial and spectral

zoom modes.

Each "good" L2 scene is mapped onto only one L2G grid cell.

The number of L2 scenes that are mapped onto a given L2G grid cell can range

from 0 to 12, and the corresponding data are stored in an additional dimension

of the grid.

The L2 data are not averaged or weighted in any way in the L2G product.

The product is stored as one HDF-EOS 5 grid file, and has a size of 87 MB.

The format of the L2G product files is consistent with the document entitled

"HDF-EOS Aura File Format Guidelines" by C. Craig et al. (Reference 3).

Global Metadata:

- Metadata Name:     EndUTC

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Data Source:       PGE

Description: >

UTC at the end of the L2G granule in "YYYY-MM-DDT23:59:59.999999Z" format.

- Metadata Name:     FirstLineInOrbit

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1,16

Minimum Value:     1

Maximum Value:     1700

Data Source:       PGE

Description: >

The first line number in each L2 orbit that contributes to the L2G granule.

- Metadata Name:     GranuleDay

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     1

Maximum Value:     31

Data Source:       PGE

Description:       The day of the month at the start of the L2G granule.

- Metadata Name:     GranuleDayOfYear

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     1

Maximum Value:     366

Data Source:       PGE

Description:       The day of the year at the start of the L2G granule.

- Metadata Name:     GranuleMonth

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     1

Maximum Value:     12

Data Source:       PGE

Description:       The month of the year at the start of the L2G granule.

- Metadata Name:     GranuleYear

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     2000

Maximum Value:     2099

Data Source:       PGE

Description:       The (four-digit) year at the start of the L2G granule.

- Metadata Name:     HDFEOSVersion

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Data Source:       HE

Description: >

The version of HDF-EOS 5 used in production.  Example is "HDFEOS_5.1.8".

- Metadata Name:     InstrumentName

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            OMI

Data Source:       PGE

Description:       Actual is "OMI" (see Section 6.1 of Reference 3).

- Metadata Name:     LastLineInOrbit

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1,16

Minimum Value:     1

Maximum Value:     1700

Data Source:       PGE

Description: >

The last line number in each L2 orbit that contributes to the L2G granule.

- Metadata Name:     NumberOfLinesMissingGeolocation

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1,16

Minimum Value:     1

Maximum Value:     1700

Data Source:       PGE

Description: >

The number of lines in each L2 orbit that are missing geolocation (a.k.a.

number of "bad" lines in each L2 file).

- Metadata Name:     OrbitNumber

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1,16

Minimum Value:     1

Maximum Value:     999999

Data Source:       L2

Description:       The OMI orbit number for each L2 input granule.

- Metadata Name:     OrbitPeriod

Mandatory:         T

Data Type:         HE5T_NATIVE_DOUBLE

Number of Values:  1,16

Minimum Value:     5000.0

Maximum Value:     7000.0

Data Source:       PGE

Description:       The Aura orbital period for each L2 input granule.

- Metadata Name:     Period

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            Daily,Weekly,Monthly

Data Source:       PGE

Description:       The duration of the L2G granule.  Actual is "Daily".

- Metadata Name:     PGEVersion

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Data Source:       PCF

Description:       Example is "0.9.36.2" (see Appendix K of Reference 4).

- Metadata Name:     ProcessLevel

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            2G

Data Source:       PGE

Description:       Actual is "2G".

- Metadata Name:     QAPercentMissingData

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1,16

Minimum Value:     0

Maximum Value:     100

Data Source:       L2

Description: >

The percent of Level 1B calibrated radiance data that is missing from each

L2 input granule.

- Metadata Name:     QAPercentOutOfBoundsData

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1,16

Minimum Value:     0

Maximum Value:     100

Data Source:       L2

Description: >

The percent of data that are out of bounds in each L2 input granule.

- Metadata Name:     StartUTC

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Data Source:       PGE

Description: >

UTC at the start of the L2G granule in "YYYY-MM-DDT00:00:00.000000Z" format.

- Metadata Name:     TAI93At0zOfGranule

Mandatory:         T

Data Type:         HE5T_NATIVE_DOUBLE

Number of Values:  1

Minimum Value:     0.0

Maximum Value:     1.0e+30

Data Source:       PGE

Description: >

The TAI93 time at 0z of the L2G granule (see Section 6.1 of Reference 3).

Grid Metadata:

- Metadata Name:     GCTPProjectionCode

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     99

Data Source:       PGE

Description: >

The GCTP projection code of the L2G grid.  Actual is 0, which corresponds

to the geographic projection.

- Metadata Name:     GridName

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            ColumnAmountAerosol

Data Source:       PGE

Description:       Actual is "ColumnAmountAerosol".

- Metadata Name:     GridOrigin

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            Center

Data Source:       PGE

Description: >

The location of longitude and latitude quoted for each L2G grid cell.

Actual is, on average, "Center" (see Section 6.2 of Reference 3).

- Metadata Name:     GridSpacing

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Data Source:       PGE

Description: >

Spacing of L2G grid (in degrees).  Actual is "(0.25,0.25)".

- Metadata Name:     GridSpacingUnit

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            deg

Data Source:       PGE

Description: >

Unit for GridSpacing.  Actual is "deg".

- Metadata Name:     GridSpan

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Data Source:       PGE

Description: >

Span of L2G grid (in degrees).  Actual is "(-180,180,-90,90)".

- Metadata Name:     GridSpanUnit

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            deg

Data Source:       PGE

Description: >

Unit for GridSpan.  Actual is "deg".

- Metadata Name:     IndexMapL2toL2GnModels

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            "L2->L2G:  1->1, 2->2, 3->3, 4->4, 5->5"

Data Source:       PGE

Description: >

Index map from L2 to L2G for nModels dimension.

Actual is "L2->L2G:  1->1, 2->2, 3->3, 4->4, 5->5".

- Metadata Name:     IndexMapL2toL2GnWavelDiagnostic

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            "L2->L2G:  1->1, 3->2, 6->3, 7->4, 9->5"

Data Source:       PGE

Description: >

Index map from L2 to L2G for nWavelDiagnostic dimension.

Actual is "L2->L2G:  1->1, 3->2, 6->3, 7->4, 9->5".

- Metadata Name:     IndexMapL2toL2GnWavelnMW

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            "L2->L2G:  1->1, 4->2, 10->3, 12->4, 14->5"

Data Source:       PGE

Description: >

Index map from L2 to L2G for nWavelnMW dimension.

Actual is "L2->L2G:  1->1, 4->2, 10->3, 12->4, 14->5".

- Metadata Name:     MaximumNumberOfCandidatesPerGridCell

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     15

Data Source:       PGE

Description: >

The maximum number of L2 scenes per cell in the L2G grid (this can be as

large as 12).

- Metadata Name:     MinimumNumberOfCandidatesPerGridCell

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     15

Data Source:       PGE

Description: >

The minimum number of L2 scenes per cell in the L2G grid (this is typically

0, because empty L2G grid cells are quite common).

- Metadata Name:     NumberOfDuplicateScenesAcceptedIntoGrid

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     1500000

Data Source:       PGE

Description: >

The number of L2 scenes accepted into L2G grid cells that already contain

one or more L2 scenes.

- Metadata Name:     NumberOfEmptyGridCells

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     1036800

Data Source:       PGE

Description: >

The number of cells in the L2G grid that do not contain any L2 scenes.

- Metadata Name:     NumberOfGridCells

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     1

Maximum Value:     1036800

Data Source:       PGE

Description:       The total number of cells in the L2G grid.

- Metadata Name:     NumberOfLatitudesInGrid

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     1

Maximum Value:     720

Data Source:       PGE

Description:       The number of latitude bins in the L2G grid.

- Metadata Name:     NumberOfLongitudesInGrid

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     1

Maximum Value:     1440

Data Source:       PGE

Description:       The number of longitude bins in the L2G grid.

- Metadata Name:     NumberOfMultiplyPopulatedGridCells

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     1036800

Data Source:       PGE

Description: >

The number of cells in the L2G grid that contain two or more L2 scenes.

- Metadata Name:     NumberOfPopulatedGridCells

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     1036800

Data Source:       PGE

Description: >

The number of cells in the L2G grid that contain one or more L2 scenes.

- Metadata Name:     NumberOfScenesAcceptedIntoGrid

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     1500000

Data Source:       PGE

Description:       The number of L2 scenes accepted into the L2G grid.

- Metadata Name:     NumberOfScenesConsideredForGrid

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     1500000

Data Source:       PGE

Description:       The number of L2 scenes considered for the L2G grid.

- Metadata Name:     NumberOfScenesRejectedFromGrid

Mandatory:         T

Data Type:         HE5T_NATIVE_INT

Number of Values:  1

Minimum Value:     0

Maximum Value:     1500000

Data Source:       PGE

Description:       The number of L2 scenes rejected from the L2G grid.

- Metadata Name:     Projection

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            Geographic

Data Source:       PGE

Description: >

The map projection of the L2G grid.  Actual is "Geographic" (see

Section 6.2 of Reference 3).

- Metadata Name:     WavelDiagnostic

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            "342.5, 388.0, 442.0, 463.0, 483.5"

Data Source:       PGE

Description: >

The diagnostic wavelengths in nm.  Actual is "342.5, 388.0, 442.0, 463.0,

483.5".

- Metadata Name:     WavelnMW

Mandatory:         T

Data Type:         HE5T_NATIVE_CHAR

Number of Values:  1

Valids:            "342.5, 388.0, 442.0, 463.0, 483.5"

Data Source:       PGE

Description: >

The MW wavelengths in nm.  Actual is "342.5, 388.0, 442.0, 463.0, 483.5".

Grid Dimensions:

- Dimension Name:    nCandidate

Data Type:         HE5T_NATIVE_INT

Dimension Type:    FIXED

Number of Values:  1

Minimum Value:     1

Maximum Value:     15

Data Source:       PGE

Description: >

The L2-candidate-scenes dimension of the L2G grid.  The size of this

dimension is currently set at 15.

- Dimension Name:    nModels

Data Type:         HE5T_NATIVE_INT

Dimension Type:    FIXED

Number of Values:  1

Minimum Value:     1

Maximum Value:     10

Data Source:       PGE

Description: >

The number of models dimension of the L2G grid.  The size of this

dimension is currently set at 5.

- Dimension Name:    nWavelnMW

Data Type:         HE5T_NATIVE_INT

Dimension Type:    FIXED

Number of Values:  1

Minimum Value:     1

Maximum Value:     14

Data Source:       PGE

Description: >

The number of wavelengths in moving window dimension of the L2G grid.

The size of this dimension is currently set at 5.

- Dimension Name:    nWavelDiagnostic

Data Type:         HE5T_NATIVE_INT

Dimension Type:    FIXED

Number of Values:  1

Minimum Value:     1

Maximum Value:     9

Data Source:       PGE

Description: >

The number of diagnostic wavelengths dimension of the L2G grid.  The

size of this dimension is currently set at 5.

- Dimension Name:    XDim

Data Type:         HE5T_NATIVE_INT

Dimension Type:    FIXED

Number of Values:  1

Minimum Value:     1

Maximum Value:     1440

Data Source:       PGE

Description: >

The longitudes dimension of the L2G grid.  There are currently 1440

0.25-degree-wide bins between longitudes -180.0 and 180.0 degrees.

- Dimension Name:    YDim

Data Type:         HE5T_NATIVE_INT

Dimension Type:    FIXED

Number of Values:  1

Minimum Value:     1

Maximum Value:     720

Data Source:       PGE

Description: >

The latitudes dimension of the L2G grid.  There are currently 720

0.25-degree-wide bins between latitudes -90.0 and 90.0 degrees.

Geolocation Fields:

- Field Name:               GroundPixelQualityFlags

Data Type:                HE5T_NATIVE_UINT16

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0

Maximum Value:            65534

Missing Value:            65535

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    Groundpixel quality flags

Unique Field Definition:  OMI-Specific

Description: >

The ground pixel quality flags for each L2 candidate scene in each L2G grid

cell:

Bits 0 to 3 together contain the land/water flags:

0    - shallow ocean

1    - land

2    - shallow inland water

3    - ocean coastline/lake shoreline

4    - ephemeral (intermittent) water

5    - deep inland water

6    - continental shelf ocean

7    - deep ocean

8-14 - not used

15   - error flag for land/water

Bits 4 to 6 are flags that are set to 0 for FALSE, or 1 for TRUE:

Bit 4 - sun glint possibility flag

Bit 5 - solar eclipse possibility flag

Bit 6 - geolocation error flag

Bit 7 is reserved for future use (currently set to 0).

Bits 8 to 14 together contain the snow/ice flags (based on NISE):

0       - snow-free land

1-100   - sea ice concentration (percent)

101     - permanent ice (Greenland, Antarctica)

102     - not used

103     - dry snow

104     - ocean (NISE-255)

105-123 - reserved for future use

124     - mixed pixels at coastline (NISE-252)

125     - suspect ice value (NISE-253)

126     - corners undefined (NISE-254)

127     - error

Bit 15 - NISE nearest neighbor filling flag.

(See Section 6.2 of Reference 5 for more details.)

- Field Name:               Latitude

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -90.0

Maximum Value:            90.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    deg

Data Source:              L2

Title:                    Latitude of the center of the groundpixel

Unique Field Definition:  Aura-Shared

Description: >

The geodetic latitude (in degrees) on the ground at the center of each L2

candidate scene in each L2G grid cell.

- Field Name:               LineNumber

Data Type:                HE5T_NATIVE_INT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            1

Maximum Value:            1700

Missing Value:            -2000000000

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    Line Number of Candidate Scene

Unique Field Definition:  OMI-Specific

Description: >

The line number for each L2 candidate scene in each L2G grid cell.

- Field Name:               Longitude

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -180.0

Maximum Value:            180.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    deg

Data Source:              L2

Title:                    Longitude of the center of the groundpixel

Unique Field Definition:  Aura-Shared

Description: >

The geodetic longitude (in degrees) on the ground at the center of each L2

candidate scene in each L2G grid cell.

- Field Name:               NumberOfCandidateScenes

Data Type:                HE5T_NATIVE_INT

Dimensions:               YDim,XDim

Minimum Value:            0

Maximum Value:            15

Missing Value:            0

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              PGE

Title:                    Number of Candidate Scenes

Unique Field Definition:  OMI-Specific

Description: >

The number of L2 candidate scenes in each L2G grid cell.

- Field Name:               OrbitNumber

Data Type:                HE5T_NATIVE_INT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            1

Maximum Value:            999999

Missing Value:            -2000000000

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    Orbit Number of Candidate Scene

Unique Field Definition:  OMI-Specific

Description: >

The orbit number for each L2 candidate scene in each L2G grid cell.

- Field Name:               PathLength

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            2.0

Maximum Value:            100.0

Missing Value:            1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              PGE

Title:                    Path Length

Unique Field Definition:  OMI-Specific

Description: >

The path length [= sec(solar zenith angle) + sec(viewing zenith angle)] for

each L2 candidate scene in each L2G grid cell.

- Field Name:               SceneNumber

Data Type:                HE5T_NATIVE_INT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            1

Maximum Value:            60

Missing Value:            -2000000000

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    Scene Number of Candidate Scene

Unique Field Definition:  OMI-Specific

Description: >

The cross-track ground-pixel number for each L2 candidate scene in each L2G

grid cell.

- Field Name:               SolarAzimuthAngle

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -180.0

Maximum Value:            180.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    deg

Data Source:              L2

Title: >

Solar azimuth angle at WGS84 ellipsoid for center co-ordinate of the ground

pixel, defined East-of-North

Unique Field Definition:  OMI-TES-Shared

Description: >

The solar azimuth angle (in degrees) defined East-of-North on the ground at

the center of each L2 candidate scene in each L2G grid cell.

- Field Name:               SolarZenithAngle

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0.0

Maximum Value:            180.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    deg

Data Source:              L2

Title: >

Solar zenith angle at WGS84 ellipsoid for center co-ordinate of the ground

pixel

Unique Field Definition:  Aura-Shared

Description: >

The solar zenith angle (in degrees) on the ground at the center of each L2

candidate scene in each L2G grid cell.

- Field Name:               SpacecraftAltitude

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0.0

Maximum Value:            1.0e+06

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    m

Data Source:              L2

Title:                    Altitude above WGS84 ellipsoid

Unique Field Definition:  HIRDLS-OMI-TES-Shared

Description: >

Spacecraft altitude (in m) for each L2 candidate scene in each L2G grid

cell.

- Field Name:               SpacecraftLatitude

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -90.0

Maximum Value:            90.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    deg

Data Source:              L2

Title:                    Geodetic Latitude above WGS84 ellipsoid

Unique Field Definition:  HIRDLS-OMI-TES-Shared

Description: >

Spacecraft latitude (in degrees) for each L2 candidate scene in each L2G

grid cell.

- Field Name:               SpacecraftLongitude

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -180.0

Maximum Value:            180.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    deg

Data Source:              L2

Title:                    Geodetic Longitude above WGS84 ellipsoid

Unique Field Definition:  HIRDLS-OMI-TES-Shared

Description: >

Spacecraft longitude (in degrees) for each L2 candidate scene in each L2G

grid cell.

- Field Name:               TerrainHeight

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -200

Maximum Value:            10000

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             1.0

Units:                    m

Data Source:              L2

Title: >

Terrain height at for center co-ordinate of the ground pixel

Unique Field Definition:  OMI-Specific

Description: >

The terrain height (in meters) at the center of each L2 candidate scene in

each L2G grid cell.

- Field Name:               Time

Data Type:                HE5T_NATIVE_DOUBLE

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -5.0e+09

Maximum Value:            1.0e+10

Missing Value:            -1.2676506002282294e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    s

Data Source:              L2

Title:                    Time in TAI-93 format

Unique Field Definition:  Aura-Shared

Description: >

The TAI93 time (in seconds) for each L2 candidate scene in each L2G grid

cell.

- Field Name:               ViewingAzimuthAngle

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -180.0

Maximum Value:            180.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    deg

Data Source:              L2

Title: >

Viewing azimuth angle at WGS84 ellipsoid for center co-ordinate of the

ground pixel, defined East-of-North

Unique Field Definition:  OMI-Specific

Description: >

The viewing azimuth angle (in degrees) defined East-of-North on the ground at

the center of each L2 candidate scene in each L2G grid cell.

- Field Name:               ViewingZenithAngle

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0.0

Maximum Value:            180.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    deg

Data Source:              L2

Title: >

Viewing zenith angle at WGS84 ellipsoid for center co-ordinate of the

ground pixel

Unique Field Definition:  OMI-Specific

Description: >

The viewing zenith angle (in degrees) on the ground at the center of each L2

candidate scene in each L2G grid cell.

Data Fields:

- Field Name:               AerosolModelMW

Data Type:                HE5T_NATIVE_UINT16

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0

Maximum Value:            65534

Missing Value:            65535

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title: >

Aerosol model indicator for best fit aerosol model derived with the

Multi-Wavelength method

Unique Field Definition:  OMI-Specific

Description: >

The aerosol model indicator for best fit aerosol model derived with the

multi-wavelength method for each L2 candidate scene in each L2G grid cell.

- Field Name:               AerosolModelsPassedThreshold

Data Type:                HE5T_NATIVE_UINT16

Dimensions:               nCandidate,nModels,YDim,XDim

Minimum Value:            0

Maximum Value:            65534

Missing Value:            65535

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title: >

Ids of the aerosol models that passed the threshold test, ordered by

increasing Root-Mean-Square error

Unique Field Definition:  OMI-Specific

Description: >

The IDs of the aerosol models that passed the threshold test, ordered by

increasing root-mean-square error for each L2 candidate scene in each

L2G grid cell.

- Field Name:               AerosolOpticalThicknessMW

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,nWavelnMW,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Spectral Aerosol Optical Thickness for best fit aerosol model derived

with the Multi-Wavelength method, scaled by a factor 1000

Unique Field Definition:  OMI-Specific

Description: >

The spectral aerosol optical thickness for best fit aerosol model derived

with the multi-wavelength method, scaled by a factor 1000, for each L2

candidate scene in each L2G grid cell.

- Field Name:               AerosolOpticalThicknessMWPrecision

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Precision of the spectral Aerosol Optical Thickness at the reference

wavelength for best fit aerosol model derived with the Multi-Wavelength

method, scaled by a factor 1000

Unique Field Definition:  OMI-Specific

Description: >

The precision of the spectral aerosol optical thickness at the reference

wavelength for best fit aerosol model derived with the Multi-Wavelength

method, scaled by a factor 1000, for each L2 candidate scene in each

L2G grid cell.

- Field Name:               AerosolOpticalThicknessPassedThresholdMean

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,nWavelDiagnostic,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Mean spectral Aerosol Optical Thickness of aerosol models that passed the

threshold, scaled by a factor 1000

Unique Field Definition:  OMI-Specific

Description: >

The mean spectral aerosol optical thickness of aerosol models that passed

the threshold, scaled by a factor 1000, for each L2 candidate scene in

each L2G grid cell.

- Field Name:               AerosolOpticalThicknessPassedThresholdStd

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,nWavelDiagnostic,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Standard deviation of the spectral Aerosol Optical Thickness of aerosol

models that passed the threshold, scaled by a factor 1000

Unique Field Definition:  OMI-Specific

Description: >

The standard deviation of the spectral aerosol optical thickness of aerosol

models that passed the threshold, scaled by a factor 1000, for each L2

candidate scene in each L2G grid cell.

- Field Name:               CloudFlags

Data Type:                HE5T_NATIVE_UINT8

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0

Maximum Value:            254

Missing Value:            255

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    Cloud Quality Flags

Unique Field Definition:  OMI-Specific

Description: >

The cloud quality flags for each L2 candidate scene in each L2G grid cell.

Bit 0  Cloud Clearing Missing Flag:

Set if one or more cloud clearing steps were skipped because

necessary input data were missing or not of sufficient quality.

Bit 1  Cloud Clearing Error Flag:

Set if one or more cloud clearing steps resulted in error.

Bit 2  Cloud Clearing Warning Flag:

Set if one or more cloud clearing steps produced warning.

Bit 3  Cloud Fraction Test:

Set if cloud fraction exceeds an OPF threshold value.

Bit 4  Aerosol Index Test:

Set if UV aerosol index is less than an OPF threshold value and if

reflectance exceeds another OPF threshold value.

Bit 5  Pixel Homogeneity Test:

Set if SmallPixelVarianceUV is larger than an OPF thresold value or

if SmallPixelVarianceVIS is larger than another OPF threshold value.

Bit 6  Reserved:

Reserved for future use.

Bit 7  Reserved:

Reserved for future use.

Field Name:               CloudPressure

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0.0

Maximum Value:            1200.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    hPa

Data Source:              L2

Title:                    Effective Cloud Pressure

Unique Field Definition:  OMI-Specific

Description: >

The effective cloud pressure for each L2 candidate scene in each L2G grid

cell.

- Field Name:               EffectiveCloudFraction

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0.0

Maximum Value:            1.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    Effective cloud fraction channel

Unique Field Definition:  OMI-Specific

Description: >

The effective cloud fraction for each L2 candidate scene in each L2G grid

cell.

- Field Name:               InstrumentConfigurationId

Data Type:                HE5T_NATIVE_UINT8

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0

Maximum Value:            254

Missing Value:            255

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title: >

Unique ID for instrument settings for current measurement

Unique Field Definition:  OMI-Specific

Description: >

The instrument configuration ID for each L2 candidate scene in each L2G grid

cell.

- Field Name:               MeasurementQualityFlags

Data Type:                HE5T_NATIVE_UINT8

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0

Maximum Value:            254

Missing Value:            255

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    Quality Flags on Measurement Level

Unique Field Definition:  OMI-Specific

Description: >

The bit-level quality flags at measurement level for each L2 candidate scene

in each L2G grid cell.

Bit 0  Measurement Missing Flag:

Set if all Ground Pixels give Earth Radiance Missing Flag.

Bit 1  Measurement Error Flag:

Set if any of the L1B MeasurementQualityFlags bit 0, 1 or 3 are set

for the Radiance or for the used Solar product.

Bit 2  Measurement Warning Flag:

Set if any of the L1B MeasurementQualityFlags bit 2, 4, 5, 8, 9 are

set for the Radiance or for the used Solar product.

Bit 3  Rebinned Measurement Flag:

Set if L1B radiance MeasurmentQualityFlags bit 7 is set to 1.

Bit 4  SAA Flag:

Set if L1B MeasurmentQualityFlags bit 10 is set to 1 for Radiance or

for used Solar product.

Bit 5  Spacecraft Maneuver Flag:

Set if L1B MeasurmentQualityFlags bit 11 is set to 1 for Radiance or

for used Solar product.

Bit 6  Instrument Settings Error Flag:

Set if Earth and Solar InstrumentConfigurationIDs are not compatible.

Bit 7  Cloud Data Not Synchronized Flag:

Set if radiance and cloud data are not time synchronized.

- Field Name:               NumberOfModelsPassedThreshold

Data Type:                HE5T_NATIVE_UINT8

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0

Maximum Value:            254

Missing Value:            255

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title: >

Number of aerosol models that passed the threshold test

Unique Field Definition:  OMI-Specific

Description: >

The number of aerosol models that passed the threshold test for each L2

candidate scene in each L2G grid cell.

- Field Name:               ProcessingQualityFlagsMW

Data Type:                HE5T_NATIVE_UINT16

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0

Maximum Value:            65534

Missing Value:            65535

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title: >

Quality Flags on Pixel Level for the Multi-Wavelength method

Unique Field Definition:  OMI-Specific

Description: >

The quality flags on pixel level for the multi-wavelength method for each

L2 candidate scene in each L2G grid cell.

- Field Name:               RootMeanSquareErrorOfFitPassedThreshold

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,nModels,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.0001

Units:                    NoUnits

Data Source:              L2

Title: >

Root-Mean-Square error of the multi-wavelength fit for aerosol models

that passed the threshold ordered by increasing RMS error, scaled by

a factor 10000

Unique Field Definition:  OMI-Specific

Description: >

The root-mean-square error of the multi-wavelength fit for aerosol models

that passed the threshold ordered by increasing RMS error, scaled by a

factor 10000, for each L2 candidate scene in each L2G grid cell.

- Field Name:               SingleScatteringAlbedoMW

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,nWavelnMW,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Spectral Single Scattering Albedo for best fit aerosol model derived

with the Multi-Wavelength method, scaled by a factor 1000

Unique Field Definition:  OMI-Specific

Description: >

The spectral single scattering albedo for best fit aerosol model derived

with the Multi-Wavelength method, scaled by a factor 1000 for each L2

candidate scene in each L2G grid cell.

- Field Name:               SingleScatteringAlbedoMWPrecision

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Precision of the spectral Single Scattering Albedo at the reference

wavelength for best fit aerosol model derived with the Multi-Wavelength

method, scaled by a factor 1000

Unique Field Definition:  OMI-Specific

Description: >

The precision of the spectral single scattering albedo at the reference

wavelength for best fit aerosol model derived with the multi-wavelength

method, scaled by a factor 1000, for each L2 candidate scene in each

L2G grid cell.

- Field Name:               SingleScatteringAlbedoPassedThresholdMean

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,nWavelDiagnostic,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Mean spectral Single Scattering Albedo of aerosol models that passed the

threshold, scaled by a factor 1000

Unique Field Definition:  OMI-Specific

Description: >

The mean spectral single scattering albedo of aerosol models that passed

the threshold, scaled by a factor 1000, for each L2 candidate scene in

each L2G grid cell.

- Field Name:               SingleScatteringAlbedoPassedThresholdStd

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,nWavelDiagnostic,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Standard deviation of the spectral Single Scattering Albedo of aerosol

models that passed the threshold, scaled by a factor 1000.

Unique Field Definition:  OMI-Specific

Description: >

The standard deviation of the spectral single scattering albedo of aerosol

models that passed the threshold, scaled by a factor 1000, for each L2

candidate scene in each L2G grid cell.

- Field Name:               TerrainPressure

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0.0

Maximum Value:            1200.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    hPa

Data Source:              L2

Title:                    Pressure of the center of the ground pixel

Unique Field Definition:  OMI-Specific

Description: >

The terrain pressure (in hPa) for each L2 candidate scene in each L2G grid

cell.

- Field Name:               TerrainReflectivity

Data Type:                HE5T_NATIVE_INT16

Dimensions:               nCandidate,nWavelDiagnostic,YDim,XDim

Minimum Value:            -32766

Maximum Value:            32768

Missing Value:            -32767

Offset:                   0.0

Scale Factor:             0.001

Units:                    NoUnits

Data Source:              L2

Title: >

Reflectivity of the ground pixel, scaled by a factor 1000

Unique Field Definition:  OMI-Specific

Description: >

The terrain reflectivity for each L2 candidate scene in each L2G grid cell.

- Field Name:               UVAerosolIndex

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -10.0

Maximum Value:            10.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    UV Aerosol Index

Unique Field Definition:  OMI-Specific

Description: >

The UV aerosol index for each L2 candidate scene in each L2G grid cell.

- Field Name:               VISAerosolIndex

Data Type:                HE5T_NATIVE_FLOAT

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            -10.0

Maximum Value:            10.0

Missing Value:            -1.2676506e+30

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              L2

Title:                    VIS Aerosol Index

Unique Field Definition:  OMI-Specific

Description: >

The visual aerosol index for each L2 candidate scene in each L2G grid cell.

- Field Name:               XTrackQualityFlags

Data Type:                HE5T_NATIVE_UINT8

Dimensions:               nCandidate,YDim,XDim

Minimum Value:            0

Maximum Value:            254

Missing Value:            255

Offset:                   0.0

Scale Factor:             1.0

Units:                    NoUnits

Data Source:              PGE

Title:                    Across Track Quality Flags

Unique Field Definition:  OMI-Specific

Description: >

The cross-track quality flags assigned to each pixel in OMI L1B data for

each L2 candidate scene in each L2G grid cell.  Flags indicate detection

of the OMI row anomaly and if the effect has been corrected.

Bits 0 to 2 together indicate row anomaly status:

0 - Not affected

1 - Affected, Not corrected, do not use

2 - Slightly affected, not corrected, use with caution

3 - Affected, corrected, use with caution

4 - Affected, corrected, use pixel

5 - Not used

6 - Not used

7 - Error during anomaly detection processing

Bit 3 - Reserved for future use.

Bit 4 - Possibly affected by wavelength shift

Bit 5 - Possibly affected by blockage

Bit 6 - Possibly affected by stray sunlight

Bit 7 - Possibly affected by stray earthshine

Core Metadata:

- Metadata Name:     AssociatedInstrumentShortName

Mandatory:         T

Data Type:         VA20

Number of Values:  1

Valids:            OMI

Data Source:       MCF

Description:       Actual is "OMI".

- Metadata Name:     AssociatedPlatformShortName

Mandatory:         T

Data Type:         VA20

Number of Values:  1

Valids:            Aura

Data Source:       MCF

Description:       Actual is "Aura".

- Metadata Name:     AssociatedSensorShortName

Mandatory:         T

Data Type:         VA20

Number of Values:  1

Valids:            CCD Ultra Violet,CCD Visible

Data Source:       MCF

Description:       Actual is "CCD Ultra Violet".

- Metadata Name:     AutomaticQualityFlag

Mandatory:         T

Data Type:         VA20

Number of Values:  1

Valids:            Passed,Suspect,Failed

Data Source:       PGE

Description:       Actual is "Failed".

- Metadata Name:     AutomaticQualityFlagExplanation

Mandatory:         T

Data Type:         VA255

Number of Values:  1

Data Source:       PGE

Description: >

Actual is "An automatic quality investigation has not yet been devised."

- Metadata Name:     DayNightFlag

Mandatory:         T

Data Type:         VA5

Number of Values:  1

Valids:            Day,Night,Both

Data Source:       MCF

Description:       Actual is "Day".

- Metadata Name:     EastBoundingCoordinate

Mandatory:         T

Data Type:         LF

Number of Values:  1

Minimum Value:     -180.0

Maximum Value:     180.0

Data Source:       PGE

Description: >

The terrestrial longitude (in degrees) of the easternmost data in the L2G

granule, which is typically 180.0 degrees.

- Metadata Name:     EquatorCrossingDate

Mandatory:         T

Data Type:         D

Number of Values:  1,16

Data Source:       L2

Description: >

The date of the ascending equator crossing for each L2 input granule.

- Metadata Name:     EquatorCrossingLongitude

Mandatory:         T

Data Type:         LF

Number of Values:  1,16

Minimum Value:     -180.0

Maximum Value:     180.0

Data Source:       L2

Description: >

The terrestrial longitude (in degrees) of the ascending equator crossing for

each L2 input granule.

- Metadata Name:     EquatorCrossingTime

Mandatory:         T

Data Type:         T

Number of Values:  1,16

Data Source:       L2

Description: >

The time of the ascending equator crossing for each L2 input granule.

- Metadata Name:     InputPointer

Mandatory:         T

Data Type:         VA255

Number of Values:  1,16

Data Source:       PCF

Description: >

A list of the L2 input granules.  Example is

("OMI-Aura_L2-OMAERO_2005m0829t2333-o05981_v003_2007m0629t150701.he5",

"OMI-Aura_L2-OMAERO_2005m0830t0112-o05982_v003_2007m0629t152233.he5",

"OMI-Aura_L2-OMAERO_2005m0830t0251-o05983_v003_2007m0629t153533.he5",

"OMI-Aura_L2-OMAERO_2005m0830t0430-o05984_v003_2007m0629t154940.he5",

"OMI-Aura_L2-OMAERO_2005m0830t0609-o05985_v003_2007m0629t160251.he5",

"OMI-Aura_L2-OMAERO_2005m0830t0748-o05986_v003_2007m0629t161305.he5",

"OMI-Aura_L2-OMAERO_2005m0830t0927-o05987_v003_2007m0629t162319.he5",

"OMI-Aura_L2-OMAERO_2005m0830t1105-o05988_v003_2007m0629t163937.he5",

"OMI-Aura_L2-OMAERO_2005m0830t1244-o05989_v003_2007m0629t165459.he5",

"OMI-Aura_L2-OMAERO_2005m0830t1423-o05990_v003_2007m0629t170847.he5",

"OMI-Aura_L2-OMAERO_2005m0830t1602-o05991_v003_2007m0629t172337.he5",

"OMI-Aura_L2-OMAERO_2005m0830t1741-o05992_v003_2007m0629t173827.he5",

"OMI-Aura_L2-OMAERO_2005m0830t1920-o05993_v003_2007m0629t175048.he5",

"OMI-Aura_L2-OMAERO_2005m0830t2059-o05994_v003_2007m0629t180222.he5",

"OMI-Aura_L2-OMAERO_2005m0830t2238-o05995_v003_2007m0629t181841.he5")

- Metadata Name:     LocalGranuleID

Mandatory:         T

Data Type:         VA80

Number of Values:  1

Data Source:       PGE

Description: >

Example is "OMI-Aura_L2G-OMAEROG_2005d242_v003-2008m0123t012345.he5"

(see Appendix E of Reference 4).

- Metadata Name:     LocalityValue

Mandatory:         T

Data Type:         VA20

Number of Values:  1

Data Source:       MCF

Description:       Actual is "Global".

- Metadata Name:     LOCALVERSIONID

Mandatory:         T

Data Type:         VA60

Number of Values:  1

Data Source:       PCF

Description: >

MD5 fingerprint of the HDF product file.  Example valids are

"RFC1321 MD5 = not yet calculated" and "RFC1321 MD5 = [0-9,a-f]{32}".

- Metadata Name:     NorthBoundingCoordinate

Mandatory:         T

Data Type:         LF

Number of Values:  1

Minimum Value:     -90.0

Maximum Value:     90.0

Data Source:       PGE

Description: >

The terrestrial latitude (in degrees) of the northernmost data in the L2G

granule, which typically lies in the range from 65.0 to 90.0 degrees.

- Metadata Name:     OperationalQualityFlag

Mandatory:         T

Data Type:         VA20

Number of Values:  1

Valids: >

Passed,Failed,Being Investigated,Not Investigated,Inferred Passed,

Inferred Failed,Suspect

Data Source:       PGE

Description: >

Actual is "Passed".

- Metadata Name:     OperationalQualityFlagExplanation

Mandatory:         T

Data Type:         VA255

Number of Values:  1

Data Source:       PGE

Description: >

Actual is "This granule passed operational tests that were administered

by the OMI SIPS.  QA metadata was extracted and the file was successfully

read using standard HDF-EOS utilities.".

- Metadata Name:     OrbitNumber

Mandatory:         T

Data Type:         I

Number of Values:  1,16

Minimum Value:     1

Maximum Value:     999999

Data Source:       L2

Description:       The OMI orbit number for each L2 input granule.

- Metadata Name:     ParameterName

Mandatory:         T

Data Type:         VA40

Number of Values:  1

Valids:            Aerosol

Data Source:       PGE

Description: >

The measured science parameter expressed in the L2G granule.  Actual is

"Aerosol".

- Metadata Name:     PGEVERSION

Mandatory:         T

Data Type:         VA10

Number of Values:  1

Data Source:       PCF

Description:       Example is "0.9.36.2" (see Appendix K of Reference 4).

- Metadata Name:     ProductionDateTime

Mandatory:         T

Data Type:         DT

Number of Values:  1

Data Source:       TK

Description:       The date and time of the Level 2G processing.

- Metadata Name:     QAPercentOutOfBoundsData

Mandatory:         T

Data Type:         I

Number of Values:  1

Minimum Value:     0

Maximum Value:     100

Data Source:       PGE

Description: >

An average for the entire L2G granule of the percent of data that are out

of bounds.

- Metadata Name:     QAPercentMissingData

Mandatory:         T

Data Type:         I

Number of Values:  1

Minimum Value:     0

Maximum Value:     100

Data Source:       PGE

Description: >

An average for the entire L2G granule of the percent of missing Level 1B

calibrated radiance data.

- Metadata Name:     RangeBeginningDate

Mandatory:         T

Data Type:         D

Number of Values:  1

Data Source:       PGE

Description:       The year, month and day when the L2G granule begins.

- Metadata Name:     RangeBeginningTime

Mandatory:         T

Data Type:         T

Number of Values:  1

Data Source:       PGE

Description: >

The hour, minute, second and fraction of a second when the L2G granule

begins.

- Metadata Name:     RangeEndingDate

Mandatory:         T

Data Type:         D

Number of Values:  1

Data Source:       PGE

Description:       The year, month and day when the L2G granule ends.

- Metadata Name:     RangeEndingTime

Mandatory:         T

Data Type:         T

Number of Values:  1

Data Source:       PGE

Description: >

The hour, minute, second and fraction of a second when the L2G granule ends.

- Metadata Name:     REPROCESSINGACTUAL

Mandatory:         T

Data Type:         VA20

Number of Values:  1

Valids: >

processed 1 time,processed 2 times,processed 3 times,processed 4 times

Data Source:       PCF

Description: >

An indication of what reprocessing has been performed on the L2G granule.

- Metadata Name:     ReprocessingPlanned

Mandatory:         T

Data Type:         VA40

Number of Values:  1

Valids: >

no further update anticipated,further update is anticipated,

further update anticipated using enhanced PGE

Data Source:       DP

Description:       Actual is "further update is anticipated".

- Metadata Name:     ScienceQualityFlag

Mandatory:         T

Data Type:         VA20

Number of Values:  1

Valids: >

Passed,Failed,Being Investigated,Not Investigated,Inferred Passed,

Inferred Failed,Suspect

Data Source:       DP

Description:       Actual is "Not Investigated".

- Metadata Name:     ScienceQualityFlagExplanation

Mandatory:         T

Data Type:         VA255

Number of Values:  1

Data Source:       DP

Description: >

Actual is "An updated science quality flag and explanation is put in the

product .met file when a granule has been evaluated.  The flag value in

this file, Not Investigated, is an automatic default that is put into

every granule during production.".

- Metadata Name:     ShortName

Mandatory:         T

Data Type:         VA8

Number of Values:  1

Valids:            OMAEROG

Data Source:       MCF

Description:       Actual is "OMAEROG".

- Metadata Name:     SizeMBECSDataGranule

Mandatory:         F

Data Type:         LF

Number of Values:  1

Minimum Value:     0.0

Maximum Value:     10000.0

Data Source:       DSS

Description: >

The volume of data (in MB) contained in the L2G granule (this Metadata will

not appear in the L2G granule).

- Metadata Name:     SouthBoundingCoordinate

Mandatory:         T

Data Type:         LF

Number of Values:  1

Minimum Value:     -90.0

Maximum Value:     90.0

Data Source:       PGE

Description: >

The terrestrial latitude (in degrees) of the southernmost data in the L2G

granule, which typically lies in the range from -90.0 to -65.0 degrees.

- Metadata Name:     VERSIONID

Mandatory:         T

Data Type:         SI

Number of Values:  1

Minimum Value:     0

Maximum Value:     999

Data Source:       PCF

Description:       Example is 2.

- Metadata Name:     WestBoundingCoordinate

Mandatory:         T

Data Type:         LF

Number of Values:  1

Minimum Value:     -180.0

Maximum Value:     180.0

Data Source:       PGE

Description: >

The terrestrial longitude (in degrees) of the westernmost data in the L2G

granule, which is typically -180.0 degrees.

Product Specific Attributes:

- Metadata Name:     ExpeditedData

Mandatory:         T

Data Type:         VA10

Number of Values:  1

Valids:            TRUE,FALSE

Data Source:       PGE

Description:       The indicator for expedited Level 0 data.

- Metadata Name:     ExposureTimes

Mandatory:         T

Data Type:         F

Number of Values:  1,256

Minimum Value:     0.0

Maximum Value:     2000.0

Data Source:       PGE

Description: >

An array containing the exposure times (in seconds) used for the

measurements.

- Metadata Name:     MasterClockPeriods

Mandatory:         T

Data Type:         F

Number of Values:  1,128

Minimum Value:     0.0

Maximum Value:     10.0

Data Source:       PGE

Description: >

An array containing the master clock periods (in seconds) used for the

measurements.

- Metadata Name:     NrMeasurements

Mandatory:         T

Data Type:         I

Number of Values:  1

Minimum Value:     0

Maximum Value:     30000

Data Source:       PGE

Description: >

The number of measurements used to create the L2G granule.

- Metadata Name:     NrSpatialZoom

Mandatory:         T

Data Type:         I

Number of Values:  1

Minimum Value:     0

Maximum Value:     0

Data Source:       PGE

Description: >

The number of measurements in spatial zoom mode.  Actual is 0, because

zoom measurements are excluded from the L2G granule.

- Metadata Name:     NrSpectralZoom

Mandatory:         T

Data Type:         I

Number of Values:  1

Minimum Value:     0

Maximum Value:     0

Data Source:       PGE

Description: >

The number of measurements in spectral zoom mode.  Actual is 0, because

zoom measurements are excluded from the L2G granule.

- Metadata Name:     NrZoom

Mandatory:         T

Data Type:         I

Number of Values:  1

Minimum Value:     0

Maximum Value:     0

Data Source:       PGE

Description: >

The number of measurements in zoom modes.  Actual is 0, because zoom

measurements are excluded from the L2G granule.

- Metadata Name:     SolarEclipse

Mandatory:         T

Data Type:         VA10

Number of Values:  1

Valids:            TRUE,FALSE

Data Source:       PGE

Description: >

The indicator that during part of the measurements a solar eclipse occurred.

- Metadata Name:     SouthAtlanticAnomalyCrossing

Mandatory:         T

Data Type:         VA10

Number of Values:  1

Valids:            TRUE,FALSE

Data Source:       PGE

Description: >

The indicator that during part of the measurements the spacecraft was

in the South Atlantic Anomaly.

- Metadata Name:     SpacecraftManeuverFlag

Mandatory:         T

Data Type:         VA10

Number of Values:  1

Valids:            TRUE,FALSE,UNKNOWN

Data Source:       PGE

Description: >

The indicator that during part of the measurements the spacecraft was

performing a maneuver.

Archived Metadata:

- Metadata Name:     ESDTDescriptorRevision

Mandatory:         T

Data Type:         VA10

Number of Values:  1

Data Source:       MCF

Description: >

The version of the ESDT descriptor file as determined by ECS.

- Metadata Name:     LongName

Mandatory:         T

Data Type:         VA80

Number of Values:  1

Valids: >

OMI/Aura Multi-wavelength Aerosol Optical Depth and Single Scattering Albedo Daily L2 Global 0.25x0.25 deg Lat/Lon Grid

Data Source:       MCF

Description: >

Actual is

"OMI/Aura Multi-wavelength Aerosol Optical Depth and Single Scattering Albedo Daily L2 Global 0.25x0.25 deg Lat/Lon Grid"

References: >

1. "OMAERO README File"

(2009 April 6)

(http://disc.sci.gsfc.nasa.gov/Aura/data-holdings/OMI/omaero_v003.shtml)

2. "Definition of OMI Grids for Level 3 and Level 4 Data Products"

(OMI-Grids_L3L4, SD-OMIE-KNMI-443, 25 January 2005)

3. "A File Format for Satellite Atmospheric Chemistry Data"

(OMI-AURA-DATA-GUIDE, ESDS-RFC-009, May 2008)

4. "OMI Science Software Delivery Guide for Version 0.9"

(OMI-SSDG-0.9.10, Version 0.9.10, 22 June 2005)

5. "OMI GDPS Input/Output Data Specification (IODS) Volume 2"

(OMI-GDPS-IODS-2, SD-OMIE-7200-DS-467, 8 November 2004)

6. "OMAEROG ECS Metadata Requirements"

(OMI-OMAEROG_Metadata_RD, Version 0.9.30, In Preparation)

7. "Release 6A Implementation Earth Science Data Model for the ECS Project"

(420-TP-022-002, June 2001)

(http://edhs1.gsfc.nasa.gov/waisdata/rel6/html/tp4202202.html and

http://edhs1.gsfc.nasa.gov/waisdata/rel6/html/tp42022_adds.html)